## Clonee 220 kV
Terminal | Clonee 220 kV |  | Terminal | Clonee 220 kV
Terminal Name | Clonee 220 kV |  | Terminal Name | Clonee 220 kV_Corduff 110 kV |  | Clonee 220 kV_Corduff 220 kV |  | Clonee 220 kV_Cruiserath 220 kV |  | Clonee 220 kV_Woodland 220 kV
Study Case | step1 |  | Study Case | step1 |  | step1 |  | step1 |  | step1
Contingency | Base_Case | CLO2-CDU2-ckt1 | Contingency | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1
Filter Details |  |  | Filter Details
Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1
Result Type | m:Z | m:Z | Result Type | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12
Frequency in Hz |  |  | Frequency in Hz
50 | 8.8266 | 12.9636 | 50 | 3.0414 | 2.4671 | 7.6243 | 5.7421 | 7.6244 | 5.7421 | 6.5241 | 7.5443
100 | 21.7338 | 29.011 | 100 | 8.0993 | 6.8588 | 19.5467 | 15.6809 | 19.5475 | 15.6816 | 17.0807 | 18.6122
150 | 45.4043 | 46.3335 | 150 | 20.7129 | 19.1538 | 45.0454 | 41.9432 | 45.0494 | 41.9469 | 41.4618 | 38.9642
200 | 10.0271 | 23.6872 | 200 | 4.9334 | 5.9529 | 9.092 | 11.3585 | 9.0934 | 11.3602 | 8.7799 | 6.7977
250 | 20.6445 | 38.847 | 250 | 4.962 | 3.6517 | 16.8306 | 8.7853 | 16.8347 | 8.7875 | 10.6325 | 13.6815
300 | 61.5113 | 54.042 | 300 | 19.5787 | 15.1618 | 62.4744 | 47.0156 | 62.4964 | 47.0321 | 43.9383 | 31.5902
350 | 28.6617 | 48.5174 | 350 | 14.8135 | 4.9568 | 40.8176 | 15.4181 | 40.8372 | 15.4255 | 20.0719 | 13.3549
400 | 6.265 | 59.8822 | 400 | 5.3 | 1.6003 | 13.0903 | 4.5795 | 13.0984 | 4.5824 | 3.4143 | 18.0235
450 | 17.6517 | 72.709 | 450 | 2.5107 | 2.6793 | 4.6372 | 2.0693 | 4.6409 | 2.0709 | 7.2033 | 25.9174
500 | 32.6132 | 86.1664 | 500 | 10.9333 | 8.267 | 18.7809 | 9.8714 | 18.7992 | 9.881 | 17.4175 | 34.5331
550 | 53.4374 | 94.3085 | 550 | 25.9528 | 18.9978 | 43.3773 | 25.9962 | 43.4283 | 26.0268 | 32.2245 | 39.8771
600 | 60.3753 | 85.3889 | 600 | 28.1294 | 24.4827 | 62.0739 | 36.6981 | 62.1608 | 36.7495 | 36.2668 | 26.7221
650 | 53.7208 | 99.4489 | 650 | 43.133 | 16.6338 | 77.2562 | 20.005 | 77.3832 | 20.0379 | 32.6776 | 31.5626
700 | 12.1161 | 110.989 | 700 | 27.3324 | 14.1596 | 35.3071 | 12.9155 | 35.3743 | 12.9401 | 12.2413 | 38.6073
750 | 11.7212 | 116.7185 | 750 | 31.792 | 11.7011 | 22.3927 | 8.4008 | 22.4417 | 8.4192 | 6.1356 | 38.2732
800 | 14.5356 | 130.4259 | 800 | 31.3078 | 16.7219 | 18.0426 | 7.9964 | 18.0875 | 8.0163 | 5.1255 | 46.2332
850 | 15.8973 | 145.9099 | 850 | 9.1476 | 5.1815 | 14.7038 | 7.6069 | 14.7451 | 7.6282 | 3.1476 | 56.4365
900 | 21.6261 | 151.0938 | 900 | 6.477 | 8.8958 | 9.9389 | 3.9834 | 9.9702 | 3.9959 | 6.4974 | 58.5052
950 | 25.8319 | 159.1583 | 950 | 3.7012 | 3.4606 | 6.8743 | 2.9651 | 6.8984 | 2.9755 | 8.3209 | 59.2525
1000 | 29.9 | 167.7 | 1000 | 1.4952 | 1.7581 | 4.2473 | 1.7757 | 4.2638 | 1.7826 | 10.6045 | 62.5294
1050 | 33.0906 | 166.4644 | 1050 | 0.96807 | 2.4997 | 2.3226 | 1.288 | 2.3325 | 1.2935 | 11.3215 | 57.5251
1100 | 36.8008 | 184.9216 | 1100 | 0.60516 | 2.2397 | 1.7966 | 1.6484 | 1.805 | 1.6562 | 13.7137 | 67.632
1150 | 39.9607 | 190.7855 | 1150 | 0.37292 | 0.70924 | 2.5725 | 1.5058 | 2.5857 | 1.5135 | 15.4077 | 70.1099
1200 | 43.0594 | 197.5584 | 1200 | 0.28058 | 1.6094 | 4.0601 | 1.6723 | 4.0829 | 1.6816 | 15.5295 | 67.0002
1250 | 47.3073 | 224.2395 | 1250 | 0.052411 | 0.85733 | 5.9546 | 3.1153 | 5.9909 | 3.1343 | 19.9366 | 86.9091
1300 | 51.4474 | 248.6965 | 1300 | 0.41583 | 1.8331 | 7.9031 | 4.7507 | 7.9552 | 4.782 | 24.2745 | 106.2261
1350 | 55.3854 | 266.8334 | 1350 | 1.4183 | 2.7721 | 9.9189 | 6.4341 | 9.9894 | 6.4798 | 27.2713 | 116.9823
1400 | 57.7113 | 252.0139 | 1400 | 3.3881 | 3.8091 | 11.559 | 7.0499 | 11.6473 | 7.1038 | 28.9271 | 111.0417
1450 | 60.1206 | 255.1649 | 1450 | 5.4541 | 2.4572 | 12.8826 | 6.6983 | 12.9883 | 6.7533 | 25.3408 | 93.365
1500 | 64.9335 | 284.5686 | 1500 | 5.3288 | 10.3139 | 15.2127 | 9.3161 | 15.3463 | 9.3979 | 31.0473 | 117.082
1550 | 70.0856 | 316.2186 | 1550 | 5.3891 | 11.259 | 17.9301 | 11.9814 | 18.0983 | 12.0938 | 35.9725 | 138.6896
1600 | 74.7106 | 349.9396 | 1600 | 10.2912 | 22.0567 | 20.101 | 14.051 | 20.3021 | 14.1916 | 41.0401 | 164.8635
1650 | 80.698 | 377.0247 | 1650 | 6.5985 | 13.4495 | 23.5802 | 18.739 | 23.8312 | 18.9384 | 48.8492 | 192.9853
1700 | 81.0936 | 312.9637 | 1700 | 4.2737 | 13.2661 | 24.9818 | 17.8218 | 25.2642 | 18.0233 | 51.661 | 166.5827
1750 | 80.4864 | 293.8402 | 1750 | 1.9984 | 1.005 | 25.2731 | 11.7805 | 25.5761 | 11.9218 | 34.3499 | 103.9442
1800 | 91.2169 | 368.503 | 1800 | 3.3692 | 0.58434 | 31.1907 | 19.6819 | 31.5866 | 19.9316 | 47.1409 | 156.2821
1850 | 97.4675 | 382.1209 | 1850 | 2.8982 | 3.0305 | 35.6459 | 24.2788 | 36.1241 | 24.6045 | 54.7951 | 174.2509
1900 | 106.6863 | 435.2165 | 1900 | 4.1803 | 1.9721 | 41.6278 | 30.9113 | 42.2173 | 31.349 | 62.0148 | 203.6142
1950 | 121.7725 | 507.2347 | 1950 | 4.0525 | 2.1035 | 52.0673 | 48.8608 | 52.8445 | 49.5902 | 88.2102 | 294.0686
2000 | 123.9607 | 469.6391 | 2000 | 3.4458 | 2.1431 | 55.4246 | 43.6074 | 56.2955 | 44.2926 | 77.9914 | 232.129

## Corduff 110 kV
Terminal | Corduff 110 kV |  | Terminal | Corduff 110 kV
Terminal Name | Corduff 110 kV |  | Terminal Name | Corduff 110 kV_Clonee 220 kV |  | Corduff 110 kV_Corduff 220 kV |  | Corduff 110 kV_Cruiserath 220 kV |  | Corduff 110 kV_Woodland 220 kV
Study Case | step1 |  | Study Case | step1 |  | step1 |  | step1 |  | step1
Contingency | Base_Case | CLO2-CDU2-ckt1 | Contingency | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1
Filter Details |  |  | Filter Details
Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1
Result Type | m:Z | m:Z | Result Type | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12
Frequency in Hz |  |  | Frequency in Hz
50 | 3.5961 | 3.6374 | 50 | 3.0414 | 2.4671 | 3.2038 | 3.4224 | 3.2039 | 3.4225 | 2.6391 | 2.4797
100 | 7.9973 | 8.1108 | 100 | 8.0993 | 6.8588 | 8.4644 | 9.0342 | 8.4648 | 9.0345 | 7.2425 | 6.9292
150 | 12.4602 | 12.6284 | 150 | 20.7129 | 19.1538 | 21.2458 | 22.4264 | 21.2477 | 22.4284 | 19.6401 | 19.4162
200 | 7.4312 | 7.6581 | 200 | 4.9334 | 5.9529 | 4.772 | 4.8297 | 4.7727 | 4.8304 | 5.6266 | 6.0237
250 | 11.929 | 12.0982 | 250 | 4.962 | 3.6517 | 5.6064 | 7.178 | 5.6078 | 7.1798 | 3.7729 | 3.6933
300 | 18.4703 | 18.985 | 300 | 19.5787 | 15.1618 | 21.69 | 32.1725 | 21.6976 | 32.1838 | 15.0654 | 15.7701
350 | 15.5012 | 14.5901 | 350 | 14.8135 | 4.9568 | 17.3151 | 15.7045 | 17.3234 | 15.7121 | 9.2893 | 5.1603
400 | 21.5426 | 21.9422 | 400 | 5.3 | 1.6003 | 6.3368 | 5.6165 | 6.3408 | 5.62 | 2.8622 | 1.6536
450 | 30.8395 | 30.8648 | 450 | 2.5107 | 2.6793 | 2.4601 | 2.4244 | 2.462 | 2.4263 | 2.6646 | 2.7121
500 | 43.4853 | 43.5893 | 500 | 10.9333 | 8.267 | 11.6798 | 12.0189 | 11.6911 | 12.0306 | 9.2917 | 8.3973
550 | 46.9345 | 47.7456 | 550 | 25.9528 | 18.9978 | 28.0757 | 31.3082 | 28.1088 | 31.345 | 20.9962 | 19.2493
600 | 40.7452 | 39.1473 | 600 | 28.1294 | 24.4827 | 30.711 | 41.7256 | 30.754 | 41.784 | 23.7441 | 24.8673
650 | 30.2008 | 34.4634 | 650 | 43.133 | 16.6338 | 49.3839 | 41.0149 | 49.4651 | 41.0823 | 27.7246 | 17.0294
700 | 60.8689 | 62.971 | 700 | 27.3324 | 14.1596 | 30.6005 | 28.1629 | 30.6588 | 28.2165 | 19.6417 | 14.3657
750 | 126.1047 | 130.6058 | 750 | 31.792 | 11.7011 | 36.7168 | 34.1682 | 36.7971 | 34.2429 | 19.4819 | 12.0528
800 | 192.5056 | 194.3153 | 800 | 31.3078 | 16.7219 | 34.6848 | 33.0763 | 34.7711 | 33.1586 | 22.7557 | 16.9941
850 | 84.2603 | 84.0578 | 850 | 9.1476 | 5.1815 | 10.046 | 9.6469 | 10.0742 | 9.674 | 6.9752 | 5.2827
900 | 87.9332 | 87.3313 | 900 | 6.477 | 8.8958 | 7.4445 | 6.9236 | 7.4679 | 6.9454 | 6.4509 | 8.9754
950 | 74.5564 | 74.4289 | 950 | 3.7012 | 3.4606 | 3.7857 | 3.704 | 3.799 | 3.717 | 3.7022 | 3.5679
1000 | 48.1732 | 48.1236 | 1000 | 1.4952 | 1.7581 | 1.5442 | 1.5004 | 1.5502 | 1.5063 | 1.5287 | 1.7381
1050 | 33.3697 | 33.3611 | 1050 | 0.96807 | 2.4997 | 0.56367 | 0.55918 | 0.56608 | 0.56158 | 1.9713 | 2.4715
1100 | 26.8668 | 26.8392 | 1100 | 0.60516 | 2.2397 | 0.35388 | 0.3503 | 0.35554 | 0.35194 | 1.543 | 2.1417
1150 | 19.3862 | 19.385 | 1150 | 0.37292 | 0.70924 | 0.29972 | 0.29122 | 0.30126 | 0.29272 | 0.60592 | 0.70786
1200 | 13.9622 | 13.9576 | 1200 | 0.28058 | 1.6094 | 0.27479 | 0.28534 | 0.27633 | 0.28694 | 1.1229 | 1.5811
1250 | 7.3157 | 7.3137 | 1250 | 0.052411 | 0.85733 | 0.18816 | 0.19605 | 0.18931 | 0.19724 | 0.51681 | 0.83413
1300 | 4.9337 | 4.9228 | 1300 | 0.41583 | 1.8331 | 0.24283 | 0.24025 | 0.24442 | 0.24184 | 1.169 | 1.7761
1350 | 17.8022 | 17.8081 | 1350 | 1.4183 | 2.7721 | 1.1176 | 1.0732 | 1.1255 | 1.0808 | 2.1103 | 2.68
1400 | 51.221 | 51.2008 | 1400 | 3.3881 | 3.8091 | 3.274 | 3.1676 | 3.2991 | 3.1918 | 3.7649 | 3.7
1450 | 99.6518 | 99.5066 | 1450 | 5.4541 | 2.4572 | 6.7143 | 6.7291 | 6.7694 | 6.7843 | 2.2424 | 2.2984
1500 | 57.5459 | 57.7235 | 1500 | 5.3288 | 10.3139 | 4.5867 | 4.4506 | 4.6269 | 4.4897 | 7.459 | 9.6687
1550 | 35.9874 | 35.9376 | 1550 | 5.3891 | 11.259 | 4.0695 | 3.8303 | 4.1077 | 3.8662 | 7.9283 | 10.3295
1600 | 62.7662 | 62.359 | 1600 | 10.2912 | 22.0567 | 7.8251 | 7.3286 | 7.9034 | 7.402 | 15.0332 | 20.1092
1650 | 48.6083 | 48.8825 | 1650 | 6.5985 | 13.4495 | 5.4504 | 5.0276 | 5.5084 | 5.0812 | 9.4382 | 12.2668
1700 | 32.8419 | 32.9883 | 1700 | 4.2737 | 13.2661 | 2.8771 | 2.3 | 2.9096 | 2.326 | 9.8042 | 12.1867
1750 | 29.0261 | 29.0179 | 1750 | 1.9984 | 1.005 | 2.5948 | 2.6707 | 2.6259 | 2.7027 | 0.87835 | 0.81693
1800 | 37.6533 | 37.6325 | 1800 | 3.3692 | 0.58434 | 4.0766 | 4.079 | 4.1283 | 4.1307 | 1.2562 | 0.51809
1850 | 34.7774 | 34.7377 | 1850 | 2.8982 | 3.0305 | 3.8465 | 3.8895 | 3.8981 | 3.9417 | 1.6942 | 2.6965
1900 | 32.5459 | 32.5543 | 1900 | 4.1803 | 1.9721 | 4.6275 | 4.5602 | 4.693 | 4.6248 | 2.4847 | 1.8066
1950 | 25.9351 | 25.9573 | 1950 | 4.0525 | 2.1035 | 4.2156 | 3.9795 | 4.2785 | 4.0389 | 3.1582 | 1.8674
2000 | 20.6422 | 20.6569 | 2000 | 3.4458 | 2.1431 | 3.6731 | 3.5998 | 3.7308 | 3.6564 | 2.2833 | 1.8853

## Corduff 220 kV
Terminal | Corduff 220 kV |  | Terminal | Corduff 220 kV
Terminal Name | Corduff 220 kV |  | Terminal Name | Corduff 220 kV_Clonee 220 kV |  | Corduff 220 kV_Corduff 110 kV |  | Corduff 220 kV_Cruiserath 220 kV |  | Corduff 220 kV_Woodland 220 kV
Study Case | step1 |  | Study Case | step1 |  | step1 |  | step1 |  | step1
Contingency | Base_Case | CLO2-CDU2-ckt1 | Contingency | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1
Filter Details |  |  | Filter Details
Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1
Result Type | m:Z | m:Z | Result Type | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12
Frequency in Hz |  |  | Frequency in Hz
50 | 8.1879 | 9.1213 | 50 | 7.6243 | 5.7421 | 3.2038 | 3.4224 | 8.188 | 9.1214 | 6.2256 | 5.7842
100 | 20.7749 | 23.1176 | 100 | 19.5467 | 15.6809 | 8.4644 | 9.0342 | 20.7757 | 23.1185 | 16.6189 | 15.868
150 | 46.5068 | 50.8591 | 150 | 45.0454 | 41.9432 | 21.2458 | 22.4264 | 46.5109 | 50.8636 | 42.0681 | 42.5256
200 | 9.7838 | 12.5691 | 200 | 9.092 | 11.3585 | 4.772 | 4.8297 | 9.7853 | 12.571 | 9.794 | 11.4397
250 | 19.8242 | 26.4901 | 250 | 16.8306 | 8.7853 | 5.6064 | 7.178 | 19.829 | 26.4966 | 10.3204 | 8.9904
300 | 69.7972 | 106.7068 | 300 | 62.4744 | 47.0156 | 21.69 | 32.1725 | 69.8217 | 106.7443 | 46.4341 | 48.9493
350 | 47.6197 | 44.8311 | 350 | 40.8176 | 15.4181 | 17.3151 | 15.7045 | 47.6424 | 44.8525 | 26.1596 | 15.9845
400 | 15.3164 | 14.1911 | 400 | 13.0903 | 4.5795 | 6.3368 | 5.6165 | 15.326 | 14.2 | 7.689 | 4.7283
450 | 5.3139 | 5.4252 | 450 | 4.6372 | 2.0693 | 2.4601 | 2.4244 | 5.3181 | 5.4295 | 3.0131 | 2.1379
500 | 21.2036 | 22.8274 | 500 | 18.7809 | 9.8714 | 11.6798 | 12.0189 | 21.2242 | 22.8497 | 13.0178 | 10.1496
550 | 48.9411 | 58.3183 | 550 | 43.3773 | 25.9962 | 28.0757 | 31.3082 | 48.9987 | 58.387 | 30.4626 | 26.6319
600 | 71.9087 | 99.3511 | 600 | 62.0739 | 36.6981 | 30.711 | 41.7256 | 72.0094 | 99.4902 | 40.4795 | 37.5216
650 | 90.7874 | 73.6082 | 650 | 77.2562 | 20.005 | 49.3839 | 41.0149 | 90.9366 | 73.7291 | 43.7025 | 20.6662
700 | 40.553 | 36.9631 | 700 | 35.3071 | 12.9155 | 30.6005 | 28.1629 | 40.6303 | 37.0336 | 22.2391 | 13.2402
750 | 25.8696 | 24.6302 | 750 | 22.3927 | 8.4008 | 36.7168 | 34.1682 | 25.9262 | 24.684 | 13.6927 | 8.6075
800 | 20.4293 | 19.8328 | 800 | 18.0426 | 7.9964 | 34.6848 | 33.0763 | 20.4802 | 19.8821 | 11.9933 | 8.1445
850 | 16.2835 | 15.9329 | 850 | 14.7038 | 7.6069 | 10.046 | 9.6469 | 16.3292 | 15.9776 | 10.6973 | 7.7237
900 | 11.3579 | 11.1511 | 900 | 9.9389 | 3.9834 | 7.4445 | 6.9236 | 11.3937 | 11.1862 | 6.4875 | 4.0295
950 | 7.7872 | 7.6911 | 950 | 6.8743 | 2.9651 | 3.7857 | 3.704 | 7.8145 | 7.7181 | 4.5138 | 2.9972
1000 | 4.8272 | 4.7896 | 1000 | 4.2473 | 1.7757 | 1.5442 | 1.5004 | 4.846 | 4.8083 | 2.7135 | 1.7961
1050 | 2.5751 | 2.5704 | 1050 | 2.3226 | 1.288 | 0.56367 | 0.55918 | 2.5861 | 2.5814 | 1.6368 | 1.29
1100 | 1.8312 | 1.8324 | 1100 | 1.7966 | 1.6484 | 0.35388 | 0.3503 | 1.8398 | 1.841 | 1.6437 | 1.578
1150 | 2.8431 | 2.8541 | 1150 | 2.5725 | 1.5058 | 0.29972 | 0.29122 | 2.8578 | 2.8688 | 1.9127 | 1.4952
1200 | 4.6358 | 4.6696 | 1200 | 4.0601 | 1.6723 | 0.27479 | 0.28534 | 4.6618 | 4.6958 | 2.4528 | 1.654
1250 | 6.5658 | 6.6022 | 1250 | 5.9546 | 3.1153 | 0.18816 | 0.19605 | 6.6057 | 6.6424 | 4.1375 | 3.0572
1300 | 8.5172 | 8.5507 | 1300 | 7.9031 | 4.7507 | 0.24283 | 0.24025 | 8.5733 | 8.607 | 5.9776 | 4.6286
1350 | 10.5571 | 10.583 | 1350 | 9.9189 | 6.4341 | 1.1176 | 1.0732 | 10.6321 | 10.6581 | 7.755 | 6.2339
1400 | 12.4996 | 12.5407 | 1400 | 11.559 | 7.0499 | 3.274 | 3.1676 | 12.5951 | 12.6366 | 9.13 | 6.7858
1450 | 14.2106 | 14.3541 | 1450 | 12.8826 | 6.6983 | 6.7143 | 6.7291 | 14.3272 | 14.4718 | 8.6323 | 6.4186
1500 | 16.3506 | 16.4309 | 1500 | 15.2127 | 9.3161 | 4.5867 | 4.4506 | 16.4942 | 16.5752 | 11.3117 | 8.8613
1550 | 18.9355 | 18.9578 | 1550 | 17.9301 | 11.9814 | 4.0695 | 3.8303 | 19.1131 | 19.1357 | 13.9244 | 11.3386
1600 | 20.9918 | 20.9742 | 1600 | 20.101 | 14.051 | 7.8251 | 7.3286 | 21.2018 | 21.184 | 16.1401 | 13.2678
1650 | 24.0389 | 23.7786 | 1650 | 23.5802 | 18.739 | 5.4504 | 5.0276 | 24.2948 | 24.0317 | 20.5574 | 17.5448
1700 | 26.0752 | 25.6691 | 1700 | 24.9818 | 17.8218 | 2.8771 | 2.3 | 26.37 | 25.9593 | 22.9752 | 16.5521
1750 | 28.3086 | 28.8914 | 1750 | 25.2731 | 11.7805 | 2.5948 | 2.6707 | 28.648 | 29.2377 | 15.924 | 10.9055
1800 | 32.9802 | 32.9675 | 1800 | 31.1907 | 19.6819 | 4.0766 | 4.079 | 33.3987 | 33.3859 | 22.9969 | 18.0551
1850 | 37.1714 | 36.8156 | 1850 | 35.6459 | 24.2788 | 3.8465 | 3.8895 | 37.6701 | 37.3095 | 28.109 | 22.0952
1900 | 42.6701 | 42.0641 | 1900 | 41.6278 | 30.9113 | 4.6275 | 4.5602 | 43.2743 | 42.6597 | 33.2534 | 27.8797
1950 | 50.6372 | 47.7627 | 1950 | 52.0673 | 48.8608 | 4.2156 | 3.9795 | 51.393 | 48.4756 | 49.4925 | 43.6661
2000 | 55.9759 | 54.2178 | 2000 | 55.4246 | 43.6074 | 3.6731 | 3.5998 | 56.8554 | 55.0698 | 46.2777 | 38.8135

## Cruiserath 220 kV
Terminal | Cruiserath 220 kV |  | Terminal | Cruiserath 220 kV
Terminal Name | Cruiserath 220 kV |  | Terminal Name | Cruiserath 220 kV_Clonee 220 kV |  | Cruiserath 220 kV_Corduff 110 kV |  | Cruiserath 220 kV_Corduff 220 kV |  | Cruiserath 220 kV_Woodland 220 kV
Study Case | step1 |  | Study Case | step1 |  | step1 |  | step1 |  | step1
Contingency | Base_Case | CLO2-CDU2-ckt1 | Contingency | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1
Filter Details |  |  | Filter Details
Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1
Result Type | m:Z | m:Z | Result Type | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12
Frequency in Hz |  |  | Frequency in Hz
50 | 8.2905 | 9.224 | 50 | 7.6244 | 5.7421 | 3.2039 | 3.4225 | 8.188 | 9.1214 | 6.2256 | 5.7842
100 | 20.9736 | 23.3172 | 100 | 19.5475 | 15.6816 | 8.4648 | 9.0345 | 20.7757 | 23.1185 | 16.6195 | 15.8686
150 | 46.6128 | 50.9711 | 150 | 45.0494 | 41.9469 | 21.2477 | 22.4284 | 46.5109 | 50.8636 | 42.0718 | 42.5293
200 | 9.8857 | 12.764 | 200 | 9.0934 | 11.3602 | 4.7727 | 4.8304 | 9.7853 | 12.571 | 9.7956 | 11.4415
250 | 20.2022 | 26.8616 | 250 | 16.8347 | 8.7875 | 5.6078 | 7.1798 | 19.829 | 26.4966 | 10.323 | 8.9926
300 | 70.1688 | 106.9796 | 300 | 62.4964 | 47.0321 | 21.6976 | 32.1838 | 69.8217 | 106.7443 | 46.4505 | 48.9665
350 | 47.2486 | 44.2805 | 350 | 40.8372 | 15.4255 | 17.3234 | 15.7121 | 47.6424 | 44.8525 | 26.1721 | 15.9921
400 | 14.6361 | 13.4887 | 400 | 13.0984 | 4.5824 | 6.3408 | 5.62 | 15.326 | 14.2 | 7.6938 | 4.7313
450 | 5.9277 | 6.0371 | 450 | 4.6409 | 2.0709 | 2.462 | 2.4263 | 5.3181 | 5.4295 | 3.0155 | 2.1395
500 | 22.1888 | 23.8172 | 500 | 18.7992 | 9.881 | 11.6911 | 12.0306 | 21.2242 | 22.8497 | 13.0305 | 10.1595
550 | 49.9313 | 59.3315 | 550 | 43.4283 | 26.0268 | 28.1088 | 31.345 | 48.9987 | 58.387 | 30.4985 | 26.6632
600 | 72.4645 | 99.7161 | 600 | 62.1608 | 36.7495 | 30.754 | 41.784 | 72.0094 | 99.4902 | 40.5362 | 37.5741
650 | 90.2181 | 72.7694 | 650 | 77.3832 | 20.0379 | 49.4651 | 41.0823 | 90.9366 | 73.7291 | 43.7743 | 20.7001
700 | 39.39 | 35.7629 | 700 | 35.3743 | 12.9401 | 30.6588 | 28.2165 | 40.6303 | 37.0336 | 22.2815 | 13.2654
750 | 24.6637 | 23.3831 | 750 | 22.4417 | 8.4192 | 36.7971 | 34.2429 | 25.9262 | 24.684 | 13.7226 | 8.6264
800 | 19.125 | 18.4993 | 800 | 18.0875 | 8.0163 | 34.7711 | 33.1586 | 20.4802 | 19.8821 | 12.0232 | 8.1648
850 | 14.7255 | 14.3655 | 850 | 14.7451 | 7.6282 | 10.0742 | 9.674 | 16.3292 | 15.9776 | 10.7274 | 7.7454
900 | 9.7076 | 9.4855 | 900 | 9.9702 | 3.9959 | 7.4679 | 6.9454 | 11.3937 | 11.1862 | 6.5079 | 4.0422
950 | 6.0364 | 5.9333 | 950 | 6.8984 | 2.9755 | 3.799 | 3.717 | 7.8145 | 7.7181 | 4.5296 | 3.0077
1000 | 3.1124 | 3.0703 | 1000 | 4.2638 | 1.7826 | 1.5502 | 1.5063 | 4.846 | 4.8083 | 2.7241 | 1.8031
1050 | 1.7777 | 1.7702 | 1050 | 2.3325 | 1.2935 | 0.56608 | 0.56158 | 2.5861 | 2.5814 | 1.6438 | 1.2956
1100 | 3.1362 | 3.1386 | 1100 | 1.805 | 1.6562 | 0.35554 | 0.35194 | 1.8398 | 1.841 | 1.6514 | 1.5855
1150 | 4.9362 | 4.9487 | 1150 | 2.5857 | 1.5135 | 0.30126 | 0.29272 | 2.8578 | 2.8688 | 1.9225 | 1.5029
1200 | 7.008 | 7.0417 | 1200 | 4.0829 | 1.6816 | 0.27633 | 0.28694 | 4.6618 | 4.6958 | 2.4665 | 1.6633
1250 | 9.1076 | 9.1445 | 1250 | 5.9909 | 3.1343 | 0.18931 | 0.19724 | 6.6057 | 6.6424 | 4.1626 | 3.0758
1300 | 11.2076 | 11.2428 | 1300 | 7.9552 | 4.782 | 0.24442 | 0.24184 | 8.5733 | 8.607 | 6.017 | 4.659
1350 | 13.3953 | 13.4229 | 1350 | 9.9894 | 6.4798 | 1.1255 | 1.0808 | 10.6321 | 10.6581 | 7.8101 | 6.2782
1400 | 15.4719 | 15.5216 | 1400 | 11.6473 | 7.1038 | 3.2991 | 3.1918 | 12.5951 | 12.6366 | 9.1998 | 6.8377
1450 | 17.3341 | 17.4821 | 1450 | 12.9883 | 6.7533 | 6.7694 | 6.7843 | 14.3272 | 14.4718 | 8.7032 | 6.4713
1500 | 19.6347 | 19.7204 | 1500 | 15.3463 | 9.3979 | 4.6269 | 4.4897 | 16.4942 | 16.5752 | 11.4111 | 8.9391
1550 | 22.3905 | 22.4165 | 1550 | 18.0983 | 12.0938 | 4.1077 | 3.8662 | 19.1131 | 19.1357 | 14.055 | 11.445
1600 | 24.6124 | 24.5984 | 1600 | 20.3021 | 14.1916 | 7.9034 | 7.402 | 21.2018 | 21.184 | 16.3015 | 13.4005
1650 | 27.8491 | 27.59 | 1650 | 23.8312 | 18.9384 | 5.5084 | 5.0812 | 24.2948 | 24.0317 | 20.7762 | 17.7316
1700 | 30.0285 | 29.6485 | 1700 | 25.2642 | 18.0233 | 2.9096 | 2.326 | 26.37 | 25.9593 | 23.235 | 16.7392
1750 | 32.4906 | 33.101 | 1750 | 25.5761 | 11.9218 | 2.6259 | 2.7027 | 28.648 | 29.2377 | 16.1149 | 11.0362
1800 | 37.4309 | 37.4248 | 1800 | 31.5866 | 19.9316 | 4.1283 | 4.1307 | 33.3987 | 33.3859 | 23.2887 | 18.2843
1850 | 41.8635 | 41.5155 | 1850 | 36.1241 | 24.6045 | 3.8981 | 3.9417 | 37.6701 | 37.3095 | 28.4861 | 22.3916
1900 | 47.6886 | 47.0749 | 1900 | 42.2173 | 31.349 | 4.693 | 4.6248 | 43.2743 | 42.6597 | 33.7243 | 28.2745
1950 | 55.9968 | 53.0621 | 1950 | 52.8445 | 49.5902 | 4.2785 | 4.0389 | 51.393 | 48.4756 | 50.2313 | 44.3179
2000 | 61.7067 | 59.9198 | 2000 | 56.2955 | 44.2926 | 3.7308 | 3.6564 | 56.8554 | 55.0698 | 47.0049 | 39.4233

## Woodland 220 kV
Terminal | Woodland 220 kV |  | Terminal | Woodland 220 kV
Terminal Name | Woodland 220 kV |  | Terminal Name | Woodland 220 kV_Clonee 220 kV |  | Woodland 220 kV_Corduff 110 kV |  | Woodland 220 kV_Corduff 220 kV |  | Woodland 220 kV_Cruiserath 220 kV
Study Case | step1 |  | Study Case | step1 |  | step1 |  | step1 |  | step1
Contingency | Base_Case | CLO2-CDU2-ckt1 | Contingency | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1 | Base_Case | CLO2-CDU2-ckt1
Filter Details |  |  | Filter Details
Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | Full Result Name | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1 | step1_Base_Case | step1_CLO2-CDU2-ckt1
Result Type | m:Z | m:Z | Result Type | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12 | c:Z_12
Frequency in Hz |  |  | Frequency in Hz
50 | 7.3598 | 7.6181 | 50 | 6.5241 | 7.5443 | 2.6391 | 2.4797 | 6.2256 | 5.7842 | 6.2256 | 5.7842
100 | 18.5228 | 18.8755 | 100 | 17.0807 | 18.6122 | 7.2425 | 6.9292 | 16.6189 | 15.868 | 16.6195 | 15.8686
150 | 40.6549 | 39.5428 | 150 | 41.4618 | 38.9642 | 19.6401 | 19.4162 | 42.0681 | 42.5256 | 42.0718 | 42.5293
200 | 7.2964 | 6.9677 | 200 | 8.7799 | 6.7977 | 5.6266 | 6.0237 | 9.794 | 11.4397 | 9.7956 | 11.4415
250 | 13.2884 | 14.2747 | 250 | 10.6325 | 13.6815 | 3.7729 | 3.6933 | 10.3204 | 8.9904 | 10.323 | 8.9926
300 | 39.6281 | 32.85 | 300 | 43.9383 | 31.5902 | 15.0654 | 15.7701 | 46.4341 | 48.9493 | 46.4505 | 48.9665
350 | 7.9323 | 13.7928 | 350 | 20.0719 | 13.3549 | 9.2893 | 5.1603 | 26.1596 | 15.9845 | 26.1721 | 15.9921
400 | 11.8163 | 18.5794 | 400 | 3.4143 | 18.0235 | 2.8622 | 1.6536 | 7.689 | 4.7283 | 7.6938 | 4.7313
450 | 20.2219 | 26.7337 | 450 | 7.2033 | 25.9174 | 2.6646 | 2.7121 | 3.0131 | 2.1379 | 3.0155 | 2.1395
500 | 29.8724 | 35.5457 | 500 | 17.4175 | 34.5331 | 9.2917 | 8.3973 | 13.0178 | 10.1496 | 13.0305 | 10.1595
550 | 38.8067 | 40.8962 | 550 | 32.2245 | 39.8771 | 20.9962 | 19.2493 | 30.4626 | 26.6319 | 30.4985 | 26.6632
600 | 30.4943 | 27.4321 | 600 | 36.2668 | 26.7221 | 23.7441 | 24.8673 | 40.4795 | 37.5216 | 40.5362 | 37.5741
650 | 19.3755 | 32.2398 | 650 | 32.6776 | 31.5626 | 27.7246 | 17.0294 | 43.7025 | 20.6662 | 43.7743 | 20.7001
700 | 20.4588 | 39.2779 | 700 | 12.2413 | 38.6073 | 19.6417 | 14.3657 | 22.2391 | 13.2402 | 22.2815 | 13.2654
750 | 24.4993 | 39.0743 | 750 | 6.1356 | 38.2732 | 19.4819 | 12.0528 | 13.6927 | 8.6075 | 13.7226 | 8.6264
800 | 29.4951 | 47.0197 | 800 | 5.1255 | 46.2332 | 22.7557 | 16.9941 | 11.9933 | 8.1445 | 12.0232 | 8.1648
850 | 34.6265 | 57.1426 | 850 | 3.1476 | 56.4365 | 6.9752 | 5.2827 | 10.6973 | 7.7237 | 10.7274 | 7.7454
900 | 38.9277 | 58.948 | 900 | 6.4974 | 58.5052 | 6.4509 | 8.9754 | 6.4875 | 4.0295 | 6.5079 | 4.0422
950 | 40.3118 | 59.4087 | 950 | 8.3209 | 59.2525 | 3.7022 | 3.5679 | 4.5138 | 2.9972 | 4.5296 | 3.0077
1000 | 43.3848 | 62.4164 | 1000 | 10.6045 | 62.5294 | 1.5287 | 1.7381 | 2.7135 | 1.7961 | 2.7241 | 1.8031
1050 | 42.3494 | 57.3773 | 1050 | 11.3215 | 57.5251 | 1.9713 | 2.4715 | 1.6368 | 1.29 | 1.6438 | 1.2956
1100 | 47.927 | 67.2399 | 1100 | 13.7137 | 67.632 | 1.543 | 2.1417 | 1.6437 | 1.578 | 1.6514 | 1.5855
1150 | 50.768 | 69.5241 | 1150 | 15.4077 | 70.1099 | 0.60592 | 0.70786 | 1.9127 | 1.4952 | 1.9225 | 1.5029
1200 | 48.9641 | 66.0535 | 1200 | 15.5295 | 67.0002 | 1.1229 | 1.5811 | 2.4528 | 1.654 | 2.4665 | 1.6633
1250 | 59.8496 | 85.1683 | 1250 | 19.9366 | 86.9091 | 0.51681 | 0.83413 | 4.1375 | 3.0572 | 4.1626 | 3.0758
1300 | 70.0166 | 103.4505 | 1300 | 24.2745 | 106.2261 | 1.169 | 1.7761 | 5.9776 | 4.6286 | 6.017 | 4.659
1350 | 75.7192 | 113.3448 | 1350 | 27.2713 | 116.9823 | 2.1103 | 2.68 | 7.755 | 6.2339 | 7.8101 | 6.2782
1400 | 77.6188 | 106.8806 | 1400 | 28.9271 | 111.0417 | 3.7649 | 3.7 | 9.13 | 6.7858 | 9.1998 | 6.8377
1450 | 66.2208 | 89.521 | 1450 | 25.3408 | 93.365 | 2.2424 | 2.2984 | 8.6323 | 6.4186 | 8.7032 | 6.4713
1500 | 78.9843 | 111.6236 | 1500 | 31.0473 | 117.082 | 7.459 | 9.6687 | 11.3117 | 8.8613 | 11.4111 | 8.9391
1550 | 89.1369 | 131.5018 | 1550 | 35.9725 | 138.6896 | 7.9283 | 10.3295 | 13.9244 | 11.3386 | 14.055 | 11.445
1600 | 100.562 | 155.2833 | 1600 | 41.0401 | 164.8635 | 15.0332 | 20.1092 | 16.1401 | 13.2678 | 16.3015 | 13.4005
1650 | 115.5221 | 180.506 | 1650 | 48.8492 | 192.9853 | 9.4382 | 12.2668 | 20.5574 | 17.5448 | 20.7762 | 17.7316
1700 | 118.4346 | 154.7116 | 1700 | 51.661 | 166.5827 | 9.8042 | 12.1867 | 22.9752 | 16.5521 | 23.235 | 16.7392
1750 | 76.9314 | 96.1541 | 1750 | 34.3499 | 103.9442 | 0.87835 | 0.81693 | 15.924 | 10.9055 | 16.1149 | 11.0362
1800 | 101.9359 | 143.2481 | 1800 | 47.1409 | 156.2821 | 1.2562 | 0.51809 | 22.9969 | 18.0551 | 23.2887 | 18.2843
1850 | 114.3047 | 158.474 | 1850 | 54.7951 | 174.2509 | 1.6942 | 2.6965 | 28.109 | 22.0952 | 28.4861 | 22.3916
1900 | 124.9435 | 183.5766 | 1900 | 62.0148 | 203.6142 | 2.4847 | 1.8066 | 33.2534 | 27.8797 | 33.7243 | 28.2745
1950 | 170.9234 | 262.729 | 1950 | 88.2102 | 294.0686 | 3.1582 | 1.8674 | 49.4925 | 43.6661 | 50.2313 | 44.3179
2000 | 144.5215 | 206.5351 | 2000 | 77.9914 | 232.129 | 2.2833 | 1.8853 | 46.2777 | 38.8135 | 47.0049 | 39.4233